Expansion work of AIS Server Room in Room No.215 for the office of the Director of Accounts of University of Dhaka.

.......................................................................................................................................

| Sl No | Description | Q,ty & Unit | Rate | Total Tk |
| --- | --- | --- | --- | --- |
| 1. | Dismantling the existing wall cheeping, Concealed, Partition, renovate and Low level any types of work needed as per design. | 105.00 Sft |  |  |
| 2. | Dismantling the existing glass partition and necessary work's | 200.00 Sft |  |  |
| 3. | 125 mm brick wall with 1st class bricks in cement mortar (1:4) bottom side of the glass. | 40.00 Sft |  |  |
| 4. | Dry wall partition work above the glass height. | 116.00 Sft |  |  |
| 5. | Minimum 12mm thick plaster (1:4) with walls both inner/outer surface of the Data Center, finishing the corner and edges by removing the existing damp plaster (if necessary), washing of sand, cleaning the surface with clean water, all necessary materials etc. | 200.00 Sft |  |  |
| 6. | Plastic emulsion paint of Lot approved color or Berger (or equivalent) to wall/column of inside wall of the Branch of two coats over a coat of brand specified primer/scalar collapsing specified time for drying/recoating including cleaning, drying, making free from dirt grease, wax, removing all chalked and scald materialism fungus, mending grid the surface defects, sand papering the surface and necessary scaffolding by roller/spray etc. and printing with two coats of synthetic enamel paint approved color over a coat of priming etc. | 01.00 lot |  |  |
| 7. | Supplying, fitting and fixing Bit Glass Partition work made with 10 mm tempered glass, silicone gum & 10 mm Clear glass included edge polish, original bronze, screw, etc. Complete in all respect as per design, drawing and direction. | 210.00 Sft |  |  |
| 8. | Tempered glass Single door (3' Nos x 7') | 01.00 Nos |  |  |
| 9. | MS Sheet Ramp for server Room | 01.00 Nos |  |  |
| 10. | 12 mm Gypsum Board to block the windows. | 48.00 Sft |  |  |
| 11. | Installation and Commissioning | 01.00 Job |  |  |
| 12. | Solid type Panel (Cement Core) | 180.00 Sft |  |  |
| 13. | Double suction panel lifter | 01.00 Nos |  |  |
| 14. | Air Grommet | 06.00 Nos |  |  |
| 15. | Ground cable for raised floor connection | 01.00 Lot |  |  |
| 16. | Installation and Commissioning | 01.00 Job |  |  |
| Total Tk. |  |  |  |  |

Tk.............................................................in

words.................................................................................................................................................................in

Quoted basis of the schedule rate.

Contractors should quote their rate both in figures and in words clearly.

Executive Engineer, Zone-3,

University of Dhaka.

Sign. of the contractor............................................................

Address...................................................................                                                        Date..........................................